## Query 1
document_id | csr_id | created_at | doc_ref | version | icnirp_config_capacity | moran_or_unilateral | standard_type
f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 | 2026-01-05 12:41:13.469658 UTC | SDN0006 v2.0 |  | SMALL |  | TEF
e1239e48-67af-4f93-8532-e5a4f80185d2 | 2774 | 2025-12-16 12:04:34.861531 UTC | UKDBS_BAU_705 v3.1 |  | SMALL | MORAN
d472fd2c-d76f-4d45-96a1-0ae98ebc29f2 | 5546 | 2025-12-16 12:30:12.847114 UTC | UKDBS_BAU_705 v3.1 |  | HIGH
a301c559-5fe0-4bdb-98ca-707a659fc9e9 | 67498 | 2025-12-16 17:23:41.084563 UTC | SDN0006 (TEF) v2.0 |  | V4.8 | MORAN
be8e16db-149d-4854-92d7-e6e1abbee879 | 67498 | 2025-12-16 17:06:32.892653 UTC | SDN0006 (TEF) v2.0 |  | V4.8 | MORAN
16f6aab4-3304-4f9d-9860-ad7ae94e5454 | 80184 | 2025-12-16 16:14:39.066379 UTC | SDN0006 (TEF) v2.0 |  | 09 - VM - V4.8 - GR - B - F - 0 | MORAN
88efd25a-c422-4b74-9104-a93d0827f4f6 | 80184 | 2025-12-16 15:33:59.623414 UTC | SDN0006 (TEF) v2.0 |  | V4.8 | MORAN
7757a3da-3e6d-42a7-825f-12cefdfc018f | 5546 | 2025-12-16 12:11:06.852132 UTC | SDN0006 (TEF) v2.0 |  | V4.8
c5d341b0-282d-410f-8a1d-89ecdad06eab | 18386 | 2025-12-16 15:06:21.317383 UTC | SDN0006 (TEF) v2.0 |  | 15 - VM - V4.8 - GR - B - F - 0 | MORAN | TEF
4157eef5-1f73-4a72-99e8-1ff9b6cf660b | 2163 | 2025-12-16 11:49:17.160086 UTC | UKDBS_BAU_0705 v3.1 |  | SMALL |  | TEF

## Query 2
document_id | csr_id | created_at | site_name | address | ngr_east | ngr_north | site_category | deployment_team | project_name
e1b1ed68-11f1-46de-a64a-040da58ade74 | 75349 | 2026-01-05 13:38:19.623437 UTC | HALSALL FIELD | HALSALL FIELD, BILLYS LANE STRATFORD ST. MARY, COLCHESTER, ESSEX, ESSEX | 605149 | 234841 | Greenfield | South | KD 2025 T1.9
1da1c3d6-412e-4b7e-87db-b821b8394e0b | 71252 | 2026-01-05 12:48:45.585901 UTC | NORWICH UNITED FC | YARMOUTH ROAD, PLANTATION PARK BLOFIELD, NORFOLK, NORFOLK | 634031 | 310146 | Greenfield | South | KD 2024 T1.2
550e5de2-dd74-42ce-9ec4-cef193b45627 | 71258 | 2026-01-05 12:31:06.462246 UTC | AQUAFIBRE LTD | WENDOVER ROAD, RACKHEATH, NORWICH, NORFOLK | 628365 | 313511 | Greenfield | South | KD 2024 T1.2
4984fe5a-d868-4587-9372-59a674589cb9 | 31645 | 2026-01-05 14:19:27.370398 UTC | BRANTHAM GLEBE WOODS | BRANTHAM LTD, BRANTHAM HALL, MANNINGTREE, ESSEX | 611687 | 234684 | Greenfield | South | KD 2024 T1.7
408d9c6f-1e8c-4d40-b27f-286cedc439b2 | 11601 | 2026-01-05 12:03:06.642547 UTC | BEACON 4 | FRIESLAND FARM, HUNTINGTON ROAD, CONINGTON, CAMBRIDGESHIRE | 534480 | 266206 | Greenfield | South | KD 2025 T1.14
29dcffc7-1a41-4905-8474-5632ef222d91 | 350 | 2026-01-05 13:58:06.504729 UTC | TEMPLE WOOD | No Data | 570624 | 200570 | Greenfield | South | KD 2025 T1.16
a6fa968d-7567-4e67-ae59-f27d41aea436 | 9544 | 2026-01-05 15:06:09.130957 UTC | PARKLANDS FARM | PARKLANDS FARM, CHELMSFORD, ESSEX, ESSEX | 571480 | 202590 | Greenfield | South | KD 2025 T1.16
e0684eee-bb52-4a05-9311-028752f48dd0 | 69037 | 2026-01-05 12:10:46.165877 UTC | STOWS FARM | STOWS FARM, TIILINGHAM, ESSEX, CMO | 598551 | 203765 | Greenfield | South | KD 2025 T1.18
be8e16db-149d-4854-92d7-e6e1abbee879 | 67498 | 2025-12-16 17:06:32.892653 UTC | PAINES WOOD SITE | ADJ TO A27 WEST BOUND, ARUNDEL, WEST SUSSEX | 498960 | 107350 | Greenfield | South | KD 2025 T1.9
96a97184-cf5a-49d7-ba21-e98fa1b33863 | 3033 | 2025-12-16 11:31:59.269138 UTC | LANGNEY NEW | No Data | 562410 | 101343 | Greenfield | South | KD 2025 T1.12

## Query 3
document_id | csr_id | created_at | calculated_cost_usd | template_provider | revision | sdnt_version | option | design_supplier | project_name
f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 | 2026-01-05 12:41:13.469658 UTC | 1.084 | Cornerstone - BEACON 4 | A | SCN10005 Version 3.0 | No Data | Circet UK | CORNERSTONE BEACON 4
c5d341b0-282d-410f-8a1d-89ecdad06eab | 18386 | 2025-12-16 15:06:21.312230 UTC | 0.48024 | Cornerstone - BEACON 4 | A | SDNT0005 Version 2.3 | No Data | Clarke Telecom | CORNERSTONE BEACON 4
c5d341b0-282d-410f-8a1d-89ecdad06eab | 18386 | 2025-12-16 15:06:21.312230 UTC | 0.48024 | Cornerstone - BEACON 4 | A | SDNT0005 Version 2.3 | No Data | Clarke Telecom | CORNERSTONE BEACON 4
c5d341b0-282d-410f-8a1d-89ecdad06eab | 18386 | 2025-12-16 15:06:21.317383 UTC | 0.63342 | Cornerstone - BEACON 4 | A | SDNT0005 Version 2.3 | No Data | Clarke Telecom | CORNERSTONE BEACON 4
c5d341b0-282d-410f-8a1d-89ecdad06eab | 18386 | 2025-12-16 15:06:21.317383 UTC | 0.63342 | Cornerstone - BEACON 4 | A | SDNT0005 Version 2.3 | No Data | Clarke Telecom | CORNERSTONE BEACON 4
16f6aab4-3304-4f9d-9860-ad7ae94e5454 | 80184 | 2025-12-16 16:14:39.066379 UTC | 0.5154 | Cornerstone - BEACON 4 | A | SDNT0005 Version 3.2 | No Data | Clarke Telecom
e1239e48-67af-4f93-8532-e5a4f80185d2 | 2774 | 2025-12-16 12:04:34.861531 UTC | 0 | Cornerstone - BEACON 4 | A | SDNT0005 Version 2.3 | No Data | Clarke Telecom
88efd25a-c422-4b74-9104-a93d0827f4f6 | 80184 | 2025-12-16 15:33:59.623414 UTC | 0.28767 | Cornerstone - BEACON 4 | B | SDNT0005 Version 2.0 | No Data | Clarke Telecom
7757a3da-3e6d-42a7-825f-12cefdfc018f | 5546 | 2025-12-16 12:11:06.852132 UTC | 0 | Cornerstone - BEACON 4 | C | RGN10005 Version 2.2 | No Data | Clarke Telecom | CORNERSTONE BEACON 4
d472fd2c-d76f-4d45-96a1-0ae98ebc29f2 | 5546 | 2025-12-16 12:30:12.847114 UTC | 0.40399 | Cornerstone - BEACON 4 | A |  | No Data | Clarke Telecom

## Query 4
created_at | document_id | csr_id | existing_proposed | operator | manufacturer | model | supply_type | phase_single_three | supply_rating_amps | earthing | comments | status | allocated_position_ref | design_reference | dimensions | weight | quantity | cooling_type | location | upgrade_required_y_n | operator_host | operator_sharer
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 |  | TEF | NOKIA | GPS MODULE | [5 empty] | EXISTING |  |  |  |  | 1 |  | GANTRY POLE
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 |  | TEF |  | SUA-3 / (E) | [5 empty] | PROPOSED | A1,2,3 | AFF4 | 500x230x2800 | 55 | 3 |  | HEADFRAME
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 | EXISTING | TEF | NOKIA | FPF RACK | [5 empty] | REMAIN |  |  | 600x750x1980 |  |  |  | GROUND LEVEL
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 | EXISTING | TEF | ELTEK | 4TH GEN. PSU |  |  |  |  | TO BE UPGRADED REFER TO DWG 607-609 | [7 empty] | EQUIPMENT CABIN | Y
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 | EXISTING | TEF | COMMSCOPE | SLIMLINE METER CABINET |  |  |  |  | MODULES TO BE REMOVED | REMAIN |  |  | 655x260x1015 |  |  |  | GROUND LEVEL
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 | EXISTING | [17 empty] | TEF
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 |  | TEF | ELTEK | 4th GEN PSU |  |  |  |  | TO BE UPGRADED REFER TO DWG 607-609 | EXISTING |  | EFF1 | 725x850x2100 | 194 | 1 |  | LOCAL
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 |  | TEF | NOKIA | AHEGHA |  |  |  |  | FOR X18/X21/XF26 TECHNOLOGY | PROPOSED |  | RFF1 | 400x190x700 | 38 | 3 |  | HEADFRAME
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 | PROPOSED | TEF | NOKIA | 584mm AMRC RAILS |  |  |  |  | 3No. RAILS c/w 6No. FPKC POLE BRACKET KITS (2No. PER RAIL) | NEW
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 |  | TEF | NOKIA | AHPMDG 2 |  |  |  |  | FOR X07/L08/GX09 TECHNOLOGY | PROPOSED |  | RFF1 | 400x190x700 | 38 | 3 |  | HEADFRAME
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 | EXISTING | TEF | LATCHWAY | FALL ARREST | [5 empty] | EXISTING |  |  |  |  | 1 |  | PHASE 4.5 MONOPOLE
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 |  | TEF | NOKIA | AHPMDG 1 |  |  |  |  | FOR X07/L08/GX09 TECHNOLOGY | PROPOSED |  | RFF1 | 400x190x700 | 38 | 3 |  | HEADFRAME
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 |  | TEF |  | C2 COMBINER |  |  |  |  | REMOVE | EXISTING |  |  |  |  | 3 |  | FPF RACK
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 | EXISTING | TEF | ELTEK | 4th GEN PSU |  |  |  |  | TO BE UPGRADED REFER TO DWG 607-609 | REMAIN |  |  | 700x730x1800 |  |  |  | GROUND LEVEL
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 |  | TEF | NOKIA | AHSB |  |  |  |  | FOR X14 TECHNOLOGY | PROPOSED |  | RFF2 | 480x190x400 | 25 | 3 |  | HEADFRAME
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 | EXISTING | TEF | CU PHOSCO | 4.51 HEADFRAME | [5 empty] | REMAIN
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 | EXISTING | TEF |  |  | DNO | THREE | 100 | TN-C-S
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349
2026-01-05 12:41:13.469658 UTC | f48f791f-6ccb-4a01-8220-329c5abc48df | 75349 | EXISTING | TEF | CU PHOSCO | PHASE 4.5 MONOPOLE | [5 empty] | REMAIN
2025-12-15 15:56:36.657943 UTC | d725d9e8-3cec-4d05-b4f2-4273d7dfcf28 | 11604 |  | TEF | ERICSSON | 2238 ERS |  |  |  |  | X07/L08/GX09 | PROPOSED | RA2,5,8 | RFF10 | 400x240x700 | 45 | 3 |  | TOWER LEG
2025-12-15 16:43:01.557090 UTC | 7c328c58-4cae-4060-813d-f3d92bf4cc0c | 43828 |  | TEF | ERICSSON | ERS2238 |  |  |  |  | 3No. REQUIRED FOR X07/L08/GX09 | PROPOSED | RB1-3 | RFF1o | 400x240x700 | 45 | 3 |  | HEADFRAME
2025-12-15 15:56:36.657943 UTC | d725d9e8-3cec-4d05-b4f2-4273d7dfcf28 | 11604 | EXISTING | TEF | ERICSSON | SXK 125 5991/1 |  |  |  |  | 6No. POLE CLAMPS | REMAIN
2025-12-15 15:27:11.469345 UTC | 62a4fef8-52ae-48d1-be72-570104267381 | 47771 |  | TEF | NOKIA | AHPMDG |  |  |  |  | X07/L08/GX09 #2 | PROPOSED | RA2,6,10 | RFF1n | 0.40x0.19x0.70m | 38 | 3 |  | HEADFRAME
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124 | EXISTING | TEF |  |  | DNO | THREE | 100 | TN-C-S
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124 | EXISTING | TEF | ELTEK | FP2 |  |  |  |  | ADD 2No. RECTIFIERS | [7 empty] | ELTEK 4TH GEN | Y
2025-12-15 16:43:01.557090 UTC | 7c328c58-4cae-4060-813d-f3d92bf4cc0c | 43828
2025-12-15 16:31:22.672442 UTC | 2694c399-90c9-4ffa-8cdf-b1e6b1ed226b | 2124
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124 | PROPOSED | TEF | GCA | 1 IN 3 OUT BOB |  |  |  |  | 1No. | [7 empty] | TOWER
2025-12-15 15:27:11.469345 UTC | 62a4fef8-52ae-48d1-be72-570104267381 | 47771 |  | TEF | [7 empty] | EXISTING | D2 | DFF1 | 382 x 0.177m | 11.2 | 1 |  | HEADFRAME
2025-12-15 16:43:01.557090 UTC | 7c328c58-4cae-4060-813d-f3d92bf4cc0c | 43828 |  | TEF | [7 empty] | ALLOCATED | RD1-3 | RFF20 | 400x190x480 | 25 | 3 |  | TOWER LEG
2025-12-15 15:56:36.657943 UTC | d725d9e8-3cec-4d05-b4f2-4273d7dfcf28 | 11604 |  | TEF | ERICSSON | EFF1 | [5 empty] | ALLOCATED |  |  | 725x850x2100 |  |  |  | EQUIPMENT CABIN
2025-12-15 16:43:01.557090 UTC | 7c328c58-4cae-4060-813d-f3d92bf4cc0c | 43828 |  | TEF | ERICSSON | BBU6631 |  |  |  |  | 2No. TO BE REMOVED | EXISTING |  |  |  |  | 2 |  | PERCY PSU
2025-12-15 16:31:22.672442 UTC | 2694c399-90c9-4ffa-8cdf-b1e6b1ed226b | 2124 |  | TEF | ERICSSON | EFF 1 | [5 empty] | ALLOCATED |  |  | 725x850x2100 |  |  |  | EQUIPMENT CABIN
2025-12-15 16:31:22.672442 UTC | 2694c399-90c9-4ffa-8cdf-b1e6b1ed226b | 2124 | EXISTING | TEF | ELTEK | FP2 | [12 empty] | ELTEK 4TH GEN | Y
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124 | EXISTING | TEF | ERICSSON | RBS 6201 |  |  |  |  | POWERED DOWN | REMAIN |  |  | 600x480x1800 |  |  |  | EQUIPMENT CABIN

## Query 4 (Ordered by CSR)
created_at | document_id | csr_id | existing_proposed | operator | manufacturer | model | supply_type | phase_single_three | supply_rating_amps | earthing | comments | status | allocated_position_ref | design_reference | dimensions | weight | quantity | cooling_type | location | upgrade_required_y_n | operator_host | operator_sharer
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 | EXISTING | [8 empty] | REMAIN |  |  |  |  | 1 | PACKAGED
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 |  | TEF | NOKIA | AHEGHA |  |  |  |  | FOR X18/X21/XF26 TECHNOLOGY | PROPOSED |  | RFF1 | 400x190x450 | 38 | 3 |  | HEADFRAME
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 | EXISTING | TEF | NOKIA | FLAT PACK RACK (1) | [5 empty] | REMAIN |  |  | 600x600x1975 |  |  |  | EQUIPMENT BUILDING
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 | EXISTING | TEF | ELTEK | 4TH GEN PSU | [5 empty] | REMAIN |  |  | 600x600x1500 |  |  |  | EQUIPMENT BUILDING
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 | EXISTING |  |  | AMRC RAILS |  |  |  |  | 3No. | REMAIN
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 | EXISTING | TEF | NOKIA | FLAT PACK RACK (2) | [5 empty] | REMAIN |  |  | 600x600x1975 |  |  |  | EQUIPMENT BUILDING
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 |  | TEF | NOKIA | AZHN |  |  |  |  | FOR XT26 TECHNOLOGY | PROPOSED |  | RFF2 | 400x190x450 | 25 | 3 |  | HEADFRAME
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 | EXISTING | TEF |  | METER CABINET | [5 empty] | REMAIN |  |  | 1000x450x1200 |  |  |  | GROUND LEVEL
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 |  | TEF | NOKIA | AHSB |  |  |  |  | FOR X14 TECHNOLOGY | PROPOSED |  | RFF1 | 400x190x700 | 38 | 3 |  | HEADFRAME
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 | EXISTING | TEF |  | EQUIPMENT BUILDING | [5 empty] | REMAIN |  |  | 2510x3710x2820 |  |  |  | GROUND LEVEL
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 |  | TEF |  | SUA-7+ | [5 empty] | PROPOSED | A1,2,3 | AFF3 | 500x230x2200 | 55 | 3 |  | HEADFRAME
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 | EXISTING | TEF | BT | TRANSMISSION CABINET | [5 empty] | REMAIN |  |  | 600x510x1200 |  |  |  | EQUIPMENT BUILDING
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 |  | TEF | NOKIA | GPS MODULE | [5 empty] | EXISTING |  |  |  |  | 1 |  | GANTRY POLE
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 |  | TEF | NOKIA | AZNC |  |  |  |  | FOR XT23 TECHNOLOGY | PROPOSED |  | RFF2 | 400x190x450 | 25 | 3 |  | HEADFRAME
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 | EXISTING | TEF | LATCHWAY | FALL ARREST | [5 empty] | REMAIN |  |  |  |  | 1 |  | TOWER LADDER
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 | EXISTING | [17 empty] | TEF
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 | EXISTING | TEF | ELTEK | 4TH GEN PSU |  |  |  |  | CABINET TO BE REFRESHED | [7 empty] | EQUIPMENT BUILDING | Y
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 |  | TEF | [7 empty] | ALLOCATED | B1,2,3 | AFF6 | 520x230x780 | 40 | 3 |  | HEADFRAME
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 |  | TEF | NOKIA | AHPMDG 2 |  |  |  |  | FOR GX09/X07 TECHNOLOGY | PROPOSED |  | RFF1 | 400x190x700 | 38 | 3 |  | HEADFRAME
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 |  | TEF | ELTEK | 4TH GEN | [5 empty] | EXISTING |  | EFF1 | 725x850x2100 | 194 | 3 |  | LOCAL
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 | PROPOSED |  |  | AMRC RAILS |  |  |  |  | 3No. | NEW
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 |  | TEF | NOKIA | AHPMDG 1 |  |  |  |  | FOR GX09/L08 TECHNOLOGY | PROPOSED |  | RFF1 | 400x190x700 | 38 | 3 |  | HEADFRAME
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 | EXISTING |  | AD3000 | LATTICE TOWER | [5 empty] | REMAIN
2026-01-05 13:58:06.504729 UTC | 29dcffc7-1a41-4905-8474-5632ef222d91 | 350 | EXISTING | TEF |  |  | DNO | THREE | 100 | TN-C-S | [8 empty] | METER CABINET
2025-12-15 16:31:22.672442 UTC | 2694c399-90c9-4ffa-8cdf-b1e6b1ed226b | 2124
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124 | EXISTING |  | SWANN | TYPE 1S LATTICE |  |  |  |  | 20.00m TOWER C/W 2.5m HEADFRAME | REMAIN
2025-12-15 16:31:22.672442 UTC | 2694c399-90c9-4ffa-8cdf-b1e6b1ed226b | 2124
2025-12-15 16:31:22.672442 UTC | 2694c399-90c9-4ffa-8cdf-b1e6b1ed226b | 2124 | EXISTING | TEF | ELTEK | 4813 DC CONVERTER |  |  |  |  | 3No. | [7 empty] | 4th GEN PSU | N
2025-12-15 16:31:22.672442 UTC | 2694c399-90c9-4ffa-8cdf-b1e6b1ed226b | 2124 |  | TEF | ERICSSON | 2238 ERS |  |  |  |  | X07/L08/GX09 | EXISTING | RA2,6,10 | RFF10 | 400x240x700 | 45 | 3 |  | HEADFRAME
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124 | PROPOSED | TEF | GCA | 1 IN 3 OUT BOB |  |  |  |  | 1No. | [7 empty] | TOWER
2025-12-15 16:31:22.672442 UTC | 2694c399-90c9-4ffa-8cdf-b1e6b1ed226b | 2124 | EXISTING | TEF | LATCHWAYS | FALL ARREST |  |  |  |  | TEST DUE. DOUBLE LANYARD REQUIRED | REMAIN |  |  |  |  | 1 |  | TOWER/ LADDER
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124 | PROPOSED |  | SWANN | 8681 YOKE KIT |  |  |  |  | C/W SUPPORT POLES. SEE DWG 601 FOR DETAILS | NEW
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124 |  | TEF | ERICSSON | GRU | [5 empty] | EXISTING |  |  |  |  | 1 |  | 4TH GEN
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124 |  | TEF | ERICSSON | 3258 M-MiMo |  |  |  |  | NR34 | EXISTING | C1,2,3 | AFF1o | 410x190x730 | 40 | 3 |  | HEADFRAME
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124
2025-12-15 16:31:22.672442 UTC | 2694c399-90c9-4ffa-8cdf-b1e6b1ed226b | 2124 | EXISTING | TEF | ELTEK | FP2 | [12 empty] | ELTEK 4TH GEN | Y
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124 |  | TEF | ERICSSON | ERS 2238 |  |  |  |  | REMAIN L08/L09 | EXISTING |  |  | 447x398x143 |  | 3 |  | HEADFRAME
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124 | PROPOSED | TEF | ELTEK | 4813 DC CONVERTER |  |  |  |  | 1No. | [7 empty] | 4th GEN PSU | N
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124 |  | TEF | ERICSSON | ERS 4480 |  |  |  |  | REMOVE L18/L21 | EXISTING |  |  | 398x151x553 |  | 3 |  | HEADFRAME
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124 | EXISTING | TEF | ERICSSON | RBS 6201 |  |  |  |  | POWERED DOWN | REMAIN |  |  | 600x480x1800 |  |  |  | EQUIPMENT CABIN
2025-12-15 16:31:22.672442 UTC | 2694c399-90c9-4ffa-8cdf-b1e6b1ed226b | 2124 |  | TEF | ERICSSON | EFF 1 | [5 empty] | ALLOCATED |  |  | 725x850x2100 |  |  |  | EQUIPMENT CABIN
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124 |  | TEF | COMMSCOPE | E14V00P58 |  |  |  |  | REMOVE L26 FILTERS | EXISTING |  |  | 120x214x86 |  | 3 |  | HEADFRAME
2025-12-15 16:31:22.672442 UTC | 2694c399-90c9-4ffa-8cdf-b1e6b1ed226b | 2124 | EXISTING | TEF | SWANN | TYPE 1S LATTICE |  |  |  |  | 20.00m TOWER C/W 2.5m HEADFRAME | REMAIN
2025-12-15 16:31:22.672442 UTC | 2694c399-90c9-4ffa-8cdf-b1e6b1ed226b | 2124 | PROPOSED | TEF | GCA | 1 IN 3 OUT BOB |  |  |  |  | 1No. | [7 empty] | TOWER
2025-12-15 16:31:22.672442 UTC | 2694c399-90c9-4ffa-8cdf-b1e6b1ed226b | 2124 |  | TEF | ERICSSON | 4485 ERS |  |  |  |  | X18/X21/XF26 | PROPOSED | RA4,8,12 | RFF10 | 400x240x700 | 45 | 3 |  | HEADFRAME
2025-12-15 16:31:22.672442 UTC | 2694c399-90c9-4ffa-8cdf-b1e6b1ed226b | 2124
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124 |  | TEF | ERICSSON | 4485 ERS |  |  |  |  | X18/X21/XF26 | PROPOSED | RA4,8,12 | RFF1o | 400x240x700 | 45 | 3 |  | HEADFRAME
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124 | EXISTING | TEF |  | EQUIPMENT CABIN | [5 empty] | REMAIN |  |  | 2600x3240x2800 |  |  |  | CONCRETE BASE
2025-12-15 16:05:00.218411 UTC | 2f23a660-1e5b-49d3-8b4d-bc864296f263 | 2124 | EXISTING | TEF | GCA | 7 WAY BIG BOB |  |  |  |  | 3No. TO BE RELOCATED | [7 empty] | TOWER